CHATHAM COUNTY PURCHASING DEPARTMENT

ADDENDUM NO. 1 TO  **BID 14-0031-7**

**FOR: 8 Inch Solid Handling Vacuum Assisted Pump.**

===================================================================

**PLEASE SEE THE FOLLOWING ADDITIONS, CLARIFICATIONS AND/OR CHANGES:**

1. **QUESTION:** Will the County consider 10” Solids Handling ENVIROPRIME

JET PUMP as an alternate?

**RESPONSE:** Submitted documentation has been reviewed and request for alternate is rejected. Pump is larger than specified pump. Specifications stand as they appear in solicitation.

**BID DUE DATE REMAINS 2:00PM PRIL 24, 2014.**

**\*\*\*\*\*THE BIDDER IS RESPONSIBLE FOR MAKING THE NECESSARY CHANGES AND MUST ACKNOWLEDGE RECEIPT OF ADDENDUM.\*\*\*\*\***

04/21/14

DATE

­

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

MARGARET H. JOYNER

PURCHASING AGENT

CHATHAM COUNTY